****

**“EASCO” Wafer Type Butterfly Valve Pneumatic Operated**



**Features: -**

* Zero Leakage
* Leak Tight Shut Off
* Lower Torque
* Smooth Operation & Installation
* Long Life
* Available in PN10 / PN16

**Testing Standard: - BS 6755**

|  |  |  |
| --- | --- | --- |
| Test Pressure in PSIG | | |
| Test | Hydrostatic | Hydrostatic  PN 16 |
| Pr. Rating | PN 10 |
| Body | 340 | 425 |
| Seat | 230 | 300 |

**Part List: - Standard Dimension : -**

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **No.** | **Part Name** | **Materials** |  | **Size** | **40** | | **50** | **65** | **80** | **100** | **125** | **150** | **200** |  | |
| 01 | Body | IS 210 Gr. FG 200 / Ductile Iron  A 216 Gr. WCB / CF8 / CF8M | L | 36 | | 43 | 46 | 46 | 52 | 56 | 56 | 60 |  | |
| B | 92 | | 103 | 110 | 118 | 148 | 164 | 176 | 230 |  | |
| 02 | Disc | IS 210 Gr. FG 200 / Ductile Iron  A 216 Gr. WCB / CF8 / CF8M | C | 52 | | 70 | 76 | 85 | 105 | 115 | 130 | 156 |  | |
| H | 180 | | 180 | 180 | 215 | 215 | 215 | 265 | 325 |  | |
| 03 | Stem | AISI 410/304/316 | ISO 5211  Flange | F05 | | F05 | F05 | F05 | F05 | F05 | F05 | F10 |  | |
| 04 | Body Seat (Liner) | Neoprene / EPDM / Nitrile / Silicon / Viton / Other Request |  | |
|  | |
| 05 | Gland Seal | Neoprene / EPDM / Nitrile / Silicon / Viton / Other Request |  |  | |
|  | | | | | | | | | | | |
| 06 | Disc Lock Pin | SS 304/316 |
| 07 | Actuator | Double Acting / Single Acting |
| 08 | Solenoid | 5x2 / 3x2 Way Weather / Flame Proof |
| 09 | Limit Switch | SPDT / DPDT Type, Weather / Flame Proof |  | | | | | | | | | | | |
|  | | | | | |

**Due to continuous development Program, the design & data given in this leaflet are subject to change without prior notice.**

**ANITA ENGINEERING WORKS**



58-59, Narayan Estate, Opp. Shree Ram Estate, Nr. CMC Ltd. Odhav, Ahmedabad-382415, Gujarat, India

Phone: +91 79 22974101, Fax: +91 79 22875014

Email: eascovalves@gmail.com, eascovalves@yahoo.com, Web: [www.eascovalve.com](http://www.eascovalve.com)